## Star
IHE-J 2018 コネクタソン結果一覧
部門 |  | 放射線検査 | [27 empty] | 循環器分野 | [11 empty] | 臨床検査 | [13 empty] | 内視鏡検査 |  | 患者ケアデバイス | [5 empty] | ITインフラストラクチャ | [28 empty] | 放射線 治療
統合プロファイル |  | ARI |  | CPI |  |  | DBT |  | IRWF.b | MAMMO |  | PDI |  |  |  |  | PIR |  |  |  | REM |  |  | SWF | [5 empty] | CATH |  |  |  | ECG |  | ECHO |  |  |  | ED- CARD |  | LAW |  | LBL |  | LDA |  | LPOCT |  | LTW |  |  | LTW-MB |  |  | EWF |  | ACM |  | DEC |  | PDVQ Assign Location |  | ATNA |  |  | CT |  | PAM |  |  |  | PDQ |  | PDQV3 |  | PIXV3 |  |  | XCA |  | XCA-I |  |  | XDS-I.b |  |  |  | XDS.b |  |  |  | BRTO2
参加ベンダ | アクタ（オプション） | Image Display | Image Manager / Archive | Evidence Creator | Image Display | Image Manager / Archive | Image Display | Image Manager / Archive | Order Filler | Image Display | Image Manager / Archive | Display | Image Display | Portal Media Creator | - （ Web Contents ） | Portal Media Impoter | ADT PatientRegistration | Acquisition Modality | Order Filler | Order Placer | Dose Information Consumer | Image Manager / Archive | Acquisition Modality | Image Display | Image Manager / Archive | Acquisition Modality | Order Filler | Order Placer | PPS Manager | Image Display | Image Manager / Archive | Order Filler | Order Placer | Display | Information Source | Image Display | Image Manager / Archive | Order Filler | Order Placer | Image Display (Echo Evidence) | Image Manager / Archive | Analyzer | Analyzer Manager | Label Broker | Label Information Provider | Autonation Manager | Pre Post Proessor | Order Filler | Point of Care Data Manager | Order Filler | Order Placer | Order Result Trucker | Order Filler | Order Placer | Order Result Trucker | Order Filler + Performed Procedure Repoter | Order Placer | Alarm Manager | Alerm Reporter | Device Observation Consumer | Device Observation Reporter | Patient Demographic Consumer | Patient Demographic Supplier | Audit Record Repository | Secure Application | Secure Node | Time Client | Time Server | Patient Demographic Consumer | Patient Demographic Supplier | Patient Encounter Consumer | Patient Encounter Supplier | Patient Demographic Consumer | Patient Demographic Supplier | Patient Demographic Consumer | Patient Demographic Supplier | Patient Identity Consumer | Patient Identity Source | Patient Identity Cross-reference Manager | Initiating Gateway | Responding Gateway | Image Document Consumer | Initiating Imaging Gateway | Responding Imaging Gateway | Document Registry | Document Repository | Image Document Consumer | Imaging DocumentSource（DICOM） | Document Consumer | Document Registry | Document Repository | Document Source | Archive | Dose Display
アイテック阪急阪神（株） | [42 empty] | ● |  | ● | ● |  | ● |  | ● | [16 empty] | ● |  | ● |  | ● |  | ●
アイホン（株） | [57 empty] | ● |  |  |  | ● |  |  |  |  | ● |  | ● |  | ● |  | ●
アレイ（株） |  | ● | [9 empty] | ● | ● | ● | ● | ● |  |  |  |  | ● |  |  | ● | [42 empty] | ● | [5 empty] | ●
（株）インフィニットテクノロジー |  | ● |  |  | ● | [7 empty] | ● | [7 empty] | ● | [45 empty] | ●
（株）SBS情報システム | [12 empty] | ● | [14 empty] | ● | [46 empty] | ● | ● | ● | ● | ● | ● | ● | [7 empty] | ● | ● | ● | ●
オリンパス（株） | [55 empty] | ● | [10 empty] | ● |  | ● |  | ●
キヤノン（株） | [13 empty] | ● |  |  |  | ● |  |  |  |  | ● |  |  | ● | [39 empty] | ● | ●
キヤノンメディカルシステムズ（株） | [27 empty] | ● | [13 empty] | ● |  |  | ● | [5 empty] | ● | ● | [10 empty] | ● |  |  |  | ● |  | ● | ● | ● | ● |  | ● | [10 empty] | ● | ● |  |  |  | ● | ●
（株）ケアコム | [57 empty] | ● |  |  |  | ● |  |  |  |  | ● |  | ● |  | ● |  | ●
コニカミノルタ（株） | [20 empty] | ● | ● | [52 empty] | ● |  | ● | [16 empty] | ●
コニカミノルタジャパン（株） |  |  |  | ● | ● | ● | ● | ● |  | ● | ● |  | ● | ● |  | ● |  |  | ● |  |  |  |  | ● |  |  | ● | [39 empty] | ● |  | ● | ● | ● | ●
（株）サイバーリンクス | [79 empty] | ● | ●
GEヘルスケア・ジャパン（株） | [63 empty] | ● | ● |  | ● | [12 empty] | ● | ● |  |  |  | ● | ● | ● | ● | ● | ● | ●
（株）シーエスアイ | [16 empty] | ● | [10 empty] | ● | [34 empty] | ● |  |  |  | ● |  | ● | ● |  | ● |  | ●
（株）ジェイマックシステム |  | ● | ● |  |  | ● |  | ● |  | ● | ● | ● | ● | ● |  | ● |  |  | ● |  |  | ● |  | ● | ● |  | ● |  | ● | [37 empty] | ● |  | ● | ● | ● | ● | [20 empty] | ● | ●
（株）システムインフロンティア | [44 empty] | ● |  |  |  |  | ● |  |  | ● | [13 empty] | ●
（株）ソフトウェア・サービス | [27 empty] | ● | [16 empty] | ● | [5 empty] | ● | ● |  | ● | ● | [8 empty] | ● | ● |  | ● | ● | ● | ● | ● | ● | ● | ● | ● | ● | ● | ● | ● | ● | ● | [7 empty] | ● | ● | ● | ●
（株）テクノメディカ | [43 empty] | ● |  |  |  |  | ●
（株）テクノラボ | [42 empty] | ● |  | ● | ● |  | ● |  | ● | [16 empty] | ● |  | ● |  | ● |  | ●
東洋メディック（株） | [25 empty] | ●
日本アイ・ビー・エム（株） | [56 empty] | ● | [5 empty] | ● |  |  |  | ● |  |  | ● |  | ● |  | ●
日本光電工業（株） | [33 empty] | ● | ● | ● | ● | ● |  |  |  | ● | [13 empty] | ● |  |  |  | ● | ● | [5 empty] | ● |  | ● |  | ●
日本電気（株） | [16 empty] | ● |  |  | ● | [7 empty] | ● |  |  |  |  | ● | [5 empty] | ● | [5 empty] | ● | [5 empty] | ● | ● | [7 empty] | ● |  |  | ● |  |  |  | ● |  | ● | ● | ● | ● |  | ●
バイエル薬品（株） | [23 empty] | ●
（株）日立製作所 | [13 empty] | ● |  |  |  | ● | [7 empty] | ● | [40 empty] | ●
（株）日立ハイテクノロジーズ | [41 empty] | ● |  |  |  |  | ●
ＰＳＰ（株） | [6 empty] | ● | ● |  | ● | ● | [18 empty] | ● | ● |  |  | ● |  | ● | ● |  |  | ● | ●
（株）ファインデックス | [11 empty] | ● | ● | ● | ● | ● | [47 empty] | ● | ● |  | ● | ●
フクダ電子（株） | [11 empty] | ● | ● | ● | ● | ● | [13 empty] | ● | ● |  |  | ● | ● | ● | ● |  |  | ● | ● | [17 empty] | ● |  | ● | [5 empty] | ●
富士通（株） | [5 empty] | ● |  |  | ● |  |  |  | ● | ● | ● | ● | [7 empty] | ● | ● |  | ● |  | ● | ● | ● | ● |  |  |  | ● | ● | ● |  |  |  |  | ● |  | ● | ● |  |  |  | ● | ● | ● | ● |  |  | ● | ● | [7 empty] | ● |  | ● |  | ● | ● | ● | ● |  | ● | ● | ● | ● | ● | ● | ● | ● | ● | ● | ● |  |  | ● |  | ● | ● | ● | ●
富士フイルムメディカル（株） |  |  | ● | [10 empty] | ● | ● | ● | [5 empty] | ● |  |  | ●
富士フイルムメディカルITソリューションズ（株） | [59 empty] | ● | ●
ベックマン・コールター（株） | [44 empty] | ● |  |  | ● |  | ●
（株）ヘルスケアリレイションズ | [74 empty] | ● | ● | ● | ● | ● | ● | ●
（株）ユーズテック |  | ● | ● | [9 empty] | ● |  |  | ● | [7 empty] | ●
横河医療ソリューションズ（株） |  |  | ● |  |  | ● | [9 empty] | ● | [5 empty] | ● |  |  | ● | [43 empty] | ● |  | ●
（株）リコー | [23 empty] | ● |  | ●
（株）両備システムズ | [63 empty] | ● | ● |  | ● | [7 empty] | ● | ● | ● | ● | ● | ● | [8 empty] | ● | ● | ● | ●
|  | 各統合プロファイル・アクタごとに定められたテストを実施し、所定の基準に達したものを●としています。 | [27 empty] | 本結果表は、2018年度に実施した下記のコネクタソンの結果を示したものです。 | [33 empty] | コネクタソンへの支援参加をいただきました下記の会社に感謝いたします。
|  | ●は、IHEテクニカルフレームワークへの完全な準拠を保証するものではありません。 | [27 empty] | ◯ 2018年10月14日〜10月19日 IHE-J 2018コネクタソン（浅草） | [34 empty] | ⽇本アイ・ビー・エム（株）
|  | 各社の製品のIHEへの対応状況については、それぞれの製品の統合宣言書をご覧ください。 | [62 empty] | （株）日立ハイテクノロジーズ
（株）テクノメディカ